Safe use of tools and club equipment
A discussion arose at the meeting in March relating to the safe use of tools in the club. Some of these recommendations exist in the current club safety policy as given below, together with a exert from PUWER guidelines.

Use of protective clothing and equipment
Clothing and equipment
Personal Protective Equipment (PPE) to members where risks to their health and safety.
PPE should be used in dusty environments or in use of angle grinders.
Gloves should be worn when by when a likely hazard to hands occurs; i.e sawing drilling, handling dirty material, wood.

Mechanical and electrical appliance awareness and checks
All electrical equipment on site must be suitable and in good condition. The use of RCD circuit breakers on user’s equipment is strongly recommended for personal protection due to the nature of the site, particularly when using power tools. When connecting to the supply please ensure that any cabling does not cause a hazard to others and is not in a position that makes it liable to damage. Any equipment that is considered to be unsafe will be disconnected immediately.

Any operations involving angle grinders or welding should be kept at a safe distance from any flammable material. A fire extinguisher should be kept handy. Appropriate PPE should be worn at all times (goggles, gloves, facemask etc).

Additional assessments and safety awareness.

HSE PUWER GUIDE LINES

http://www.hse.gov.uk/work-equipment-machinery/puwer.htm

This states that the tools used should be fit for purpose. Places responsibilities on club whether tools are owned by them or not.
In relation to ECSC it is therefore essential that all individuals using tools are proficient in the use and are either supervised or have the adequate training.

An exert from PUWER states.

PUWER requires that equipment provided for use at work is:
- suitable for the intended use
- safe for use, maintained in a safe condition and inspected to ensure it is correctly installed and does not subsequently deteriorate
- used only by people who have received adequate information, instruction and training
- accompanied by suitable health and safety measures, such as protective devices and controls. These will normally include emergency stop devices, adequate means of isolation from sources of energy, clearly visible markings and warning devices
- used in accordance with specific requirements, for mobile work equipment and power presses
Some work equipment is subject to other health and safety legislation in addition to PUWER. For example, lifting equipment must also meet the requirements of LOLER, pressure equipment must meet the Pressure Systems Safety Regulations and personal protective equipment must meet the PPE Regulations .

When providing new work equipment for use at work, you must ensure it conforms with the essential requirements of European Community law (for new machinery this means the Machinery Directive). You must check it:
- is CE marked
- comes with a Declaration of Conformity
- is provided with instructions in English
- is free from obvious defects – and that it remains so during its working life

Summary
All the above should be upheld by the club especially individuals should be made familiar with the tools they use or ask an experienced member of the club to help. Always wear the appropriate PPE for example wear goggles when using the angle grinder and masks when sanding.